## Slide 1
Fundamentals of Current and Voltage
EPA-2 WEEK 2

## Slide 2
Introduction
At the most basic level, every electrical system involves four fundamental concepts: current, voltage, resistance, and power. These concepts help us understand how electricity behaves and how circuits operate.
These four concepts are the basic vocabulary needed to understand and analyze electrical circuits. They are not only theoretical concepts; they are directly applied in real electronic and IT systems.
Electrical Quantities: Current(I), Voltage(V), Resistance(R), and Power(P)
These four electrical quantities are the foundation of basic circuit analysis. They help us understand how electricity flows, what pushes the flow, what opposes it, and how much electrical energy is used.

## Slide 3
Current (I)
Current is the flow of electric charge through a circuit.
Current tells us how much electrical flow is moving through a circuit.
Symbol: I
Unit: Ampere (A)
Example:
(Ohm's Law)
I = V / R
If the voltage is 12 V and the resistance is 6 Ω:
I = 12 V / 6 Ω I = 2 A

## Slide 4
B. Voltage (V)
Voltage is the electrical potential difference that provides the push needed for current to flow.
Voltage is what drives current through a circuit.
Symbol: V
Unit: Volt (V)
Example:
(Ohm's Law)
V = I × R
If the current is 2 A and the resistance is 6 Ω:
V = 2 A × 6 Ω V = 12 V

## Slide 5
C. Resistance (R)
Resistance is the opposition to the flow of current in a circuit.
Resistance determines how much current can flow for a given voltage.
Symbol: R
Unit: Ohm (Ω)
Example:
(Ohm's Law)
R = V / I
If the voltage is 12 V and the current is 2 A:
R = 12 V / 2 A R = 6 Ω

## Slide 6
D. Power (P)
Electrical power is the rate at which electrical energy is used or converted by a device or circuit.
Symbol: P
Unit: Watt (W)
Formula:
P = V × I
Example:
If a device operates at 12 V and draws 2 A:
P = 12 V × 2 A P = 24 W

## Slide 7
II. Direct Current (DC): Concepts and Applications
What is Direct Current (DC)?
Direct Current (DC) is the flow of electric charge in one direction and is the primary operating power used by many electronic and digital devices.
In a basic DC circuit, the voltage maintains a fixed polarity, meaning the positive and negative terminals remain in the same positions.
A battery is a common source of DC power.
Why is DC Important in Electronics?
DC is very important because most electronic and digital devices operate using DC voltage.
Devices such as Microcontrollers, Sensors and Alarm systems usually require stable, low-voltage DC power to operate properly.

## Slide 8
DC in Everyday IT and Electronic Devices
Even though the electrical outlet in a building supplies AC (Alternating Current), many electronic devices actually operate internally using DC.
A power adapter converts the AC from the outlet into the DC voltage required by the device.
Example:
AC from outlet → Power supply/adapter → DC → Electronic circuit

## Slide 9
III. Alternating Current (AC): Terminology, Waveforms, Period, and Frequency
What is Alternating Current (AC)?
Alternating Current (AC) is electric current that periodically changes direction.
Unlike DC, which flows in one direction, AC reverses direction repeatedly over time.
In an AC circuit, the voltage and current change continuously with time.
Why is AC Important in Electronics?
Alternating Current (AC) is important because it is the main form of electrical power supplied by utility systems and wall outlets. Many electronic devices receive AC power first, which is then converted into DC for the electronic circuits inside the device.

## Slide 10
AC in Everyday IT and Electronic Devices
AC is commonly encountered in IT and electronic systems through wall outlets, power supplies, adapters, and backup power systems.
Common examples include:
Desktop computers – Receive AC from the wall outlet, which the power supply converts into different DC voltages.
Laptop chargers – Receive AC and convert it into DC for the laptop and battery.
Printers and other IT equipment – Use internal power supplies to convert AC into the DC voltages required by their electronic circuits.

## Slide 11
IV. AC vs. DC
The main difference between AC and DC is the direction of current flow.
DC – DIRECT CURRENT | AC – ALTERNATING CURRENT
Current flows in one direction. | Current periodically changes direction.
Commonly used by electronic circuits. | Commonly used for power distribution.
Usually supplied by batteries and DC power supplies. | Commonly supplied by wall outlets and electrical utility systems.
Used by processors, sensors, controllers, and logic circuits. | Used to distribute electrical power to buildings and equipment.

## Slide 12
Why Are Both AC and DC Used?
AC and DC are not competing types of electricity where one is simply better. They are used for different purposes in an electrical system.
1. AC for Power Distribution
AC is widely used to deliver electrical power from the utility system to buildings and equipment.
One major advantage of AC is that transformers can easily increase or decrease AC voltage.
2. AC is Converted to DC
Many electronic devices cannot operate directly from the AC supplied by a wall outlet.
A power supply or adapter converts AC into the DC voltage required by the device.
3. DC Powers Electronic Circuits
Once AC has been converted to DC, the DC supply is used by many electronic circuits and devices.

## Slide 13
END OF WEEK 2 LESSON